19 May 2022

**SUPPLEMENTAL / BID BULLETIN**

ADDENDUM NO. 2022-014-02

**Subject: Supply, Delivery, Installation, Testing and Commissioning of Spare Parts for the Replacement of Defective Module including Accessories of Radio Telescope installed at PAGASA Tanay Upper-Air and Synoptic Station (P.R. No.2022-03-0263 / IB No. 2022-014)**

This Bid Bulletin is being issued to all prospective bidders to clarify, amend and/or modify certain provisions in the Bidding Documents and to answer the written clarificatory questions submitted by prospective bidders, to wit:

Query from **STATE ALLIANCE ENTERPRISES, INC.**

|  |  |
| --- | --- |
| **Question(s)** | **PAGASA BAC Answer(s)** |
| **TOR - Letter D*** May we clarify if we can remove these requirements since there is a clause under Letter F, indicate 1-year warranty.
* May we clarify if the project includes maintenance contract since it was mention to submit the list and quantity of recommended spare parts which will be put on stock before the scheduled maintenance? May we request to remove these requirements.

**TOR - Letter G*** Delivery Period and Place of Delivery

Request 120 calendar days to 180 calendar days**TOR - Letter J. After Sales Support*** May we request to remove this clause since after pandemic the parts all over the world was no longer steady, the supply chain had shortage on the special components.
 | * Retain, thus rephrase the clause to:

*“The bidder shall submit a detailed maintenance plan and plan of approach for a period of three (3) years, subject to PAGASA deliberation and consideration. This will be served as a separate maintenance contract between the PAGASA and the bidder for the purpose of service continuity which includes list of maintenance tools, tests equipment, and calibration equipment, if any, to be used for the maintenance”.* * The End-user clarified that the project is for the replacement of spare parts and defective module only and further clarified that the participating bidder must submit the list and quantity of recommended spare parts which is readily available anytime it is needed. Detailed costing for each spare part must be included in the list for reference.”

The End-User also agreed as per the clarification made by the participating bidder and with the approval of the BAC, that the maintenance word be replaced by repair and restoration, since it is not maintenance in nature but rather under repair/rehab project.* The end user agreed for a 180 calendar days delivery period.
* The end user believed that After Sales Support is necessary and must be retained.

“*Hardware/parts replacement should be available five (5) years after the warranty period. The winning bidder shall include in its bid a commitment for dependable long-term support to PAGASA for the upgrading, repair, and maintenance of the PAGASA’s Fully Motorized 5.3-meter Radio Telescope, including a list and prices of spare parts, if necessary”.* |

This shall form an integral part of the Bid Documents.

For guidance and information of all participating bidders.

**(Sgd)BONIFACIO G. PAJUELAS, Ph.D.**

*Chairperson, PAGASA-BAC*